## Map
# | IOA | Type | Tag Name | Description
1 | 0 | se | se_WrmStrCmd_Oper_ctlVal_0 | 0. Reset device (General device data)
2 | 10 | sp | sp_Loc_stVal_10 | 10. Місцеве керування АР (General device data)
3 | 12 | sp | sp_RcdMade_stVal_12 | 12. DR recording made (General device data)
4 | 15 | sp | sp_Alm_stVal_15 | 15. Goose alarm (General device data)
5 | 20 | sp | sp_DevWrn_stVal_20 | 20. Warning (one bit) (General device data)
6 | 30 | sp | sp_DevFail_stVal_30 | 30. Внутрішня аварія RTU (General device data)
7 | 40 | sp | sp_Str_general_40 | 40. - General Start (LD0.LEDPTRC1 Global protection signals)
8 | 41 | sp | sp_Str_phsA_41 | 41. - phsA Start (LD0.LEDPTRC1 Global protection signals)
9 | 42 | sp | sp_Str_phsB_42 | 42. - phsB Start (LD0.LEDPTRC1 Global protection signals)
10 | 43 | sp | sp_Str_phsC_43 | 43. - phsC Start (LD0.LEDPTRC1 Global protection signals)
11 | 44 | sp | sp_Str_neut_44 | 44. - neut Start (LD0.LEDPTRC1 Global protection signals)
12 | 45 | sp | sp_Op_general_45 | 45. - General Operate (LD0.LEDPTRC1 Global protection signals)
13 | 46 | sp | sp_Op_phsA_46 | 46. - phsA Operate (LD0.LEDPTRC1 Global protection signals)
14 | 47 | sp | sp_Op_phsB_47 | 47. - phsB Operate (LD0.LEDPTRC1 Global protection signals)
15 | 48 | sp | sp_Op_phsC_48 | 48. - phsC Operate (LD0.LEDPTRC1 Global protection signals)
16 | 49 | sp | sp_Op_neut_49 | 49. - neut Operate (LD0.LEDPTRC1 Global protection signals)
17 | 50 | sp | sp_Op_general_50 | 50. Op. input signal (LD0.TRPPTRC1 Master trip (1))
18 | 51 | sp | sp_Tr_general_51 | 51. Trip output signal (LD0.TRPPTRC1 Master trip (1))
19 | 60 | sp | sp_SPCSO1_stVal_60 | 60. Output state 1 (LD0.FKEY4GGIO1 Programmable buttons (4 buttons) (1))
20 | 61 | sp | sp_SPCSO2_stVal_61 | 61. Output state 2 (LD0.FKEY4GGIO1 Programmable buttons (4 buttons) (1))
21 | 62 | sp | sp_SPCSO3_stVal_62 | 62. Output state 3 (LD0.FKEY4GGIO1 Programmable buttons (4 buttons) (1))
22 | 63 | sp | sp_SPCSO4_stVal_63 | 63. Output state 4 (LD0.FKEY4GGIO1 Programmable buttons (4 buttons) (1))
23 | 200 | sp | sp_OpOpn1_general_200 | 200. CB open Bus 1 (LD0.ATSABTC1 Automatic transfer switch (1))
24 | 201 | sp | sp_OpCls1_general_201 | 201. CB close Bus 1 (LD0.ATSABTC1 Automatic transfer switch (1))
25 | 202 | sp | sp_OpOpn2_general_202 | 202. CB open Bus 2 (LD0.ATSABTC1 Automatic transfer switch (1))
26 | 203 | sp | sp_OpCls2_general_203 | 203. CB close Bus 2 (LD0.ATSABTC1 Automatic transfer switch (1))
27 | 204 | sp | sp_TrnBlkAlm_stVal_204 | 204. ATS blocked alarm (LD0.ATSABTC1 Automatic transfer switch (1))
28 | 205 | sp | sp_PrgAuto_stVal_205 | 205. Automatic operation in progress (LD0.ATSABTC1 Automatic transfer switch (1))
29 | 230 | sp | sp_stVal1_230 | 230. Input 1 (LD0.MVGAPC1 Move (8 pcs) (1))
30 | 231 | sp | sp_stVal2_231 | 231. Input 2 (LD0.MVGAPC1 Move (8 pcs) (1))
31 | 232 | sp | sp_stVal3_232 | 232. Input 3 (LD0.MVGAPC1 Move (8 pcs) (1))
32 | 233 | sp | sp_stVal4_233 | 233. Input 4 (LD0.MVGAPC1 Move (8 pcs) (1))
33 | 234 | sp | sp_stVal5_234 | 234. Input 5 (LD0.MVGAPC1 Move (8 pcs) (1))
34 | 235 | sp | sp_stVal6_235 | 235. Input 6 (LD0.MVGAPC1 Move (8 pcs) (1))
35 | 236 | sp | sp_stVal7_236 | 236. Input 7 (LD0.MVGAPC1 Move (8 pcs) (1))
36 | 237 | sp | sp_stVal8_237 | 237. Input 8 (LD0.MVGAPC1 Move (8 pcs) (1))
37 | 810 | sp | sp_Op_general_810 | 810. General operate (LD0.DEFHPDEF1 Directional earth-fault protection, high stage (1))
38 | 811 | sp | sp_Str_general_811 | 811. General start (LD0.DEFHPDEF1 Directional earth-fault protection, high stage (1))
39 | 812 | sp | sp_Op_general_812 | 812. General operate (LD0.DEFLPDEF1 Directional earth-fault protection, low stage (1))
40 | 813 | sp | sp_Str_general_813 | 813. General start (LD0.DEFLPDEF1 Directional earth-fault protection, low stage (1))
41 | 814 | sp | sp_Op_general_814 | 814. General operate (LD0.DEFLPDEF2 Directional earth-fault protection, low stage (2))
42 | 815 | sp | sp_Str_general_815 | 815. General start (LD0.DEFLPDEF2 Directional earth-fault protection, low stage (2))
43 | 832 | sp | sp_Op_general_832 | 832. General operate (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
44 | 833 | sp | sp_Op_phsA_833 | 833. phase A operate (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
45 | 834 | sp | sp_Op_phsB_834 | 834. phase B operate (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
46 | 835 | sp | sp_Op_phsC_835 | 835. phase C operate (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
47 | 836 | sp | sp_Str_general_836 | 836. General start (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
48 | 837 | sp | sp_Str_phsA_837 | 837. phase A start (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
49 | 838 | sp | sp_Str_phsB_838 | 838. phase B start (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
50 | 839 | sp | sp_Str_phsC_839 | 839. phase C start (LD0.DPHHPDOC1 Three-phase directional overcurrent protection, high stage (1))
51 | 840 | sp | sp_Op_general_840 | 840. General operate (LD0.DPHLPDOC1 Three-phase directional overcurrent protection, low stage (1))
52 | 841 | sp | sp_Op_phsA_841 | 841. phase A operate (LD0.DPHLPDOC1 Three-phase directional overcurrent protection, low stage (1))
53 | 842 | sp | sp_Op_phsB_842 | 842. phase B operate (LD0.FDPHLPDOC1 FA - Three-phase directional overcurrent protection, low stage (1))
54 | 843 | sp | sp_Op_phsC_843 | 843. phase C operate (LD0.DPHLPDOC1 Three-phase directional overcurrent protection, low stage (1))
55 | 844 | sp | sp_Str_general_844 | 844. General start (LD0.FDPHLPDOC1 FA - Three-phase directional overcurrent protection, low stage (1))
56 | 845 | sp | sp_Str_phsA_845 | 845. phase A start (LD0.DPHLPDOC1 Three-phase directional overcurrent protection, low stage (1))
57 | 846 | sp | sp_Str_phsA_846 | 846. phase A start (LD0.FDPHLPDOC1 FA - Three-phase directional overcurrent protection, low stage (1))
58 | 847 | sp | sp_Str_phsC_847 | 847. phase C start (LD0.DPHLPDOC1 Three-phase directional overcurrent protection, low stage (1))
59 | 848 | sp | sp_Op_general_848 | 848. General operate (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
60 | 849 | sp | sp_Op_phsA_849 | 849. phase A operate (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
61 | 850 | sp | sp_Op_phsB_850 | 850. phase B operate (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
62 | 851 | sp | sp_Op_phsC_851 | 851. phase C operate (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
63 | 852 | sp | sp_Str_general_852 | 852. General start (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
64 | 853 | sp | sp_Str_phsA_853 | 853. phase A start (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
65 | 854 | sp | sp_Str_phsB_854 | 854. phase B start (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
66 | 855 | sp | sp_Str_phsC_855 | 855. phase C start (LD0.FDPHLPDOC2 FA - Three-phase directional overcurrent protection, low stage (2))
67 | 862 | sp | sp_Op_general_862 | 862. General operate (LD0.EFIPTOC1 Non-directional earth-fault protection, instantaneous stage (1))
68 | 863 | sp | sp_Str_general_863 | 863. General start (LD0.EFIPTOC1 Non-directional earth-fault protection, instantaneous stage (1))
69 | 864 | sp | sp_Op_general_864 | 864. General operate (LD0.EFLPTOC1 Non-directional earth-fault protection, low stage (1))
70 | 865 | sp | sp_Str_general_865 | 865. General start (LD0.FEFLPTOC1 FA - Non-directional earth-fault protection, low stage (1))
71 | 870 | sp | sp_Op_general_870 | 870. General operate (LD0.EFPADM1 Admittance-based earth-fault protection (1))
72 | 871 | sp | sp_Str_general_871 | 871. General start (LD0.EFPADM1 Admittance-based earth-fault protection (1))
73 | 872 | sp | sp_Op_general_872 | 872. General operate (LD0.EFPADM2 Admittance-based earth-fault protection (2))
74 | 873 | sp | sp_Str_general_873 | 873. General start (LD0.EFPADM2 Admittance-based earth-fault protection (2))
75 | 874 | sp | sp_Op_general_874 | 874. General operate (LD0.EFPADM3 Admittance-based earth-fault protection (3))
76 | 875 | sp | sp_Str_general_875 | 875. General start (LD0.EFPADM3 Admittance-based earth-fault protection (3))
77 | 877 | sp | sp_Op_general_877 | 877. Frequency gradient operate (LD0.FRPFRQ1 Frequency protection (1))
78 | 878 | sp | sp_Op_general_878 | 878. Frequency gradient operate (LD0.FRPFRQ2 Frequency protection (2))
79 | 883 | sp | sp_Op_general_883 | 883. Overfrequency operate (LD0.FRPFRQ1 Frequency protection (1))
80 | 884 | sp | sp_Op_general_884 | 884. Overfrequency operate (LD0.FRPFRQ2 Frequency protection (2))
81 | 889 | sp | sp_Str_general_889 | 889. Stage 1 start (LD0.FRPFRQ1 Frequency protection (1))
82 | 890 | sp | sp_Str_general_890 | 890. Stage 2 start (LD0.FRPFRQ2 Frequency protection (2))
83 | 895 | sp | sp_Op_general_895 | 895. Underfrequency operate (LD0.FRPFRQ1 Frequency protection (1))
84 | 896 | sp | sp_Op_general_896 | 896. Underfrequency operate (LD0.FRPFRQ2 Frequency protection (2))
85 | 900 | sp | sp_StLstOv_stVal_900 | 900. Internal stat values overflow (General device data)
86 | 901 | sp | sp_MeasLstOv_stVal_901 | 901. Internal meas values overflow (General device data)
87 | 902 | sp | sp_ChgFlg_stVal_902 | 902. Composition changed (General device data)
88 | 903 | sp | sp_Str_general_903 | 903. General start (LD0.INRPHAR1 Three-phase inrush detector (1))
89 | 904 | sp | sp_Str_phsA_904 | 904. phase A start (LD0.INRPHAR1 Three-phase inrush detector (1))
90 | 905 | sp | sp_Str_phsB_905 | 905. phase B start (LD0.INRPHAR1 Three-phase inrush detector (1))
91 | 906 | sp | sp_Str_phsC_906 | 906. phase C start (LD0.INRPHAR1 Three-phase inrush detector (1))
92 | 991 | sp | sp_Op_general_991 | 991. General operate (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
93 | 992 | sp | sp_Op_phsA_992 | 992. phase A operate (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
94 | 993 | sp | sp_Op_phsB_993 | 993. phase B operate (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
95 | 994 | sp | sp_Op_phsC_994 | 994. phase C operate (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
96 | 995 | sp | sp_Str_general_995 | 995. General start (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
97 | 996 | sp | sp_Str_phsA_996 | 996. phase A start (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
98 | 997 | sp | sp_Str_phsB_997 | 997. phase B start (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
99 | 998 | sp | sp_Str_phsC_998 | 998. phase C start (LD0.PHIPTOC1 Three-phase non-directional overcurrent protection, instantaneous stage (1))
100 | 1006 | sp | sp_Op_general_1006 | 1006. General operate (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
101 | 1007 | sp | sp_Op_phsA_1007 | 1007. phase A operate (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
102 | 1008 | sp | sp_Op_phsB_1008 | 1008. phase B operate (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
103 | 1009 | sp | sp_Op_phsC_1009 | 1009. phase C operate (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
104 | 1010 | sp | sp_Str_general_1010 | 1010. General start (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
105 | 1011 | sp | sp_Str_phsA_1011 | 1011. phase A start (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
106 | 1012 | sp | sp_Str_phsB_1012 | 1012. phase B start (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
107 | 1013 | sp | sp_Str_phsC_1013 | 1013. phase C start (LD0.FPHLPTOC1 FA - Three-phase non-directional overcurrent protection, low stage (1))
108 | 1019 | sp | sp_Op_general_1019 | 1019. General operate (LD0.PHPTOV1 Three-phase overvoltage protection (1))
109 | 1020 | sp | sp_Op_phsA_1020 | 1020. phase A operate (LD0.PHPTOV1 Three-phase overvoltage protection (1))
110 | 1021 | sp | sp_Op_phsB_1021 | 1021. phase B operate (LD0.PHPTOV1 Three-phase overvoltage protection (1))
111 | 1022 | sp | sp_Op_phsC_1022 | 1022. phase C operate (LD0.PHPTOV1 Three-phase overvoltage protection (1))
112 | 1023 | sp | sp_Str_general_1023 | 1023. General start (LD0.PHPTOV1 Three-phase overvoltage protection (1))
113 | 1024 | sp | sp_Str_phsA_1024 | 1024. phase A start (LD0.PHPTOV1 Three-phase overvoltage protection (1))
114 | 1025 | sp | sp_Str_phsB_1025 | 1025. phase B start (LD0.PHPTOV1 Three-phase overvoltage protection (1))
115 | 1026 | sp | sp_Str_phsC_1026 | 1026. phase C start (LD0.PHPTOV1 Three-phase overvoltage protection (1))
116 | 1043 | sp | sp_Op_general_1043 | 1043. General operate (LD0.PHPTUV1 Three-phase undervoltage protection (1))
117 | 1044 | sp | sp_Op_phsA_1044 | 1044. phase A operate (LD0.PHPTUV1 Three-phase undervoltage protection (1))
118 | 1045 | sp | sp_Op_phsB_1045 | 1045. phase B operate (LD0.PHPTUV1 Three-phase undervoltage protection (1))
119 | 1046 | sp | sp_Op_phsC_1046 | 1046. phase C operate (LD0.PHPTUV1 Three-phase undervoltage protection (1))
120 | 1047 | sp | sp_Str_general_1047 | 1047. General start (LD0.PHPTUV1 Three-phase undervoltage protection (1))
121 | 1048 | sp | sp_Str_phsA_1048 | 1048. phase A start (LD0.PHPTUV1 Three-phase undervoltage protection (1))
122 | 1049 | sp | sp_Str_phsB_1049 | 1049. phase B start (LD0.PHPTUV1 Three-phase undervoltage protection (1))
123 | 1050 | sp | sp_Str_phsC_1050 | 1050. phase C start (LD0.PHPTUV1 Three-phase undervoltage protection (1))
124 | 1073 | sp | sp_Op_general_1073 | 1073. General operate (LD0.PSPTUV1 Positive-sequence undervoltage protection (1))
125 | 1074 | sp | sp_Str_general_1074 | 1074. General Start (LD0.INTRPTEF1 Transient / intermittent earth-fault protection (1))
126 | 1075 | sp | sp_Op_general_1075 | 1075. General Operate (LD0.INTRPTEF1 Transient / intermittent earth-fault protection (1))
127 | 1077 | sp | sp_Str_general_1077 | 1077. General start (LD0.PSPTUV1 Positive-sequence undervoltage protection (1))
128 | 1137 | sp | sp_Str_general_1137 | 1137. Start (LD0.SEQSPVC1 Fuse failure supervision (1))
129 | 1138 | sp | sp_Str3Ph_general_1138 | 1138. 3-phase start (LD0.SEQSPVC1 Fuse failure supervision (1))
130 | 1151 | sp | sp_Dir_general_1151 | 1151. Dir criteria satisified (LD0.DPSRDIR1 Three-phase power directional element (1))
131 | 1176 | sp | sp_Op_general_1176 | 1176. General operate (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
132 | 1177 | sp | sp_Op_phsA_1177 | 1177. phase A operate (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
133 | 1178 | sp | sp_Op_phsB_1178 | 1178. phase B operate (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
134 | 1179 | sp | sp_Op_phsC_1179 | 1179. phase C operate (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
135 | 1180 | sp | sp_Str_general_1180 | 1180. General start (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
136 | 1181 | sp | sp_Str_phsA_1181 | 1181. phase A start (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
137 | 1182 | sp | sp_Str_phsB_1182 | 1182. phase B start (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
138 | 1183 | sp | sp_Str_phsC_1183 | 1183. phase C start (LD0.DPHHPDOC2 Three-phase directional overcurrent protection, high stage (2))
139 | 1198 | sp | sp_AlmThm_general_1198 | 1198. Thermal alarm (LD0.T1PTTR1 Three-phase thermal protection for feeders, cables and distribution transformers (1))
140 | 1199 | sp | sp_Op_general_1199 | 1199. General operate (LD0.T1PTTR1 Three-phase thermal protection for feeders, cables and distribution transformers (1))
141 | 1200 | sp | sp_Str_general_1200 | 1200. General start (LD0.T1PTTR1 Three-phase thermal protection for feeders, cables and distribution transformers (1))
142 | 1204 | sp | sp_CirAlm_stVal_1204 | 1204. Supervision alarm (LD0.TCSSCBR1 Trip circuit supervision (1))
143 | 1214 | sp | sp_Op_general_1214 | 1214. General operate (LD0.DEFLPDEF3 Directional earth-fault protection, low stage (3))
144 | 1215 | sp | sp_Str_general_1215 | 1215. General start (LD0.DEFLPDEF3 Directional earth-fault protection, low stage (3))
145 | 1216 | sp | sp_Op_general_1216 | 1216. General operate (LD0.DEFLPDEF4 Directional earth-fault protection, low stage (4))
146 | 1217 | sp | sp_Str_general_1217 | 1217. General start (LD0.DEFLPDEF4 Directional earth-fault protection, low stage (4))
147 | 1218 | sp | sp_Op_general_1218 | 1218. General operate (LD0.DEFHPDEF2 Directional earth-fault protection, high stage (2))
148 | 1219 | sp | sp_Str_general_1219 | 1219. General start (LD0.DEFHPDEF2 Directional earth-fault protection, high stage (2))
149 | 1220 | sp | sp_Op_general_1220 | 1220. General operate (LD0.DEFHPDEF3 Directional earth-fault protection, high stage (3))
150 | 1221 | sp | sp_Str_general_1221 | 1221. General start (LD0.DEFHPDEF3 Directional earth-fault protection, high stage (3))
151 | 1222 | sp | sp_Op_general_1222 | 1222. General operate (LD0.DEFHPDEF4 Directional earth-fault protection, high stage (4))
152 | 1223 | sp | sp_Str_general_1223 | 1223. General start (LD0.DEFHPDEF4 Directional earth-fault protection, high stage (4))
153 | 1336 | sp | sp_Op_general_1336 | 1336. General operate (LD0.HAEFPTOC1 Harmonics-based earth-fault protection (1))
154 | 1337 | sp | sp_Str_general_1337 | 1337. General start (LD0.HAEFPTOC1 Harmonics-based earth-fault protection (1))
155 | 2800 | sp | sp_PrgRec_stVal_2800 | 2800. AR in progress (LD0.DARREC1 Autoreclosing (1))
156 | 2801 | sp | sp_PrgRec1_stVal_2801 | 2801. AR 1st reclose (LD0.DARREC1 Autoreclosing (1))
157 | 2802 | sp | sp_PrgRec2_stVal_2802 | 2802. AR 2nd reclose (LD0.DARREC1 Autoreclosing (1))
158 | 2803 | sp | sp_PrgRec3_stVal_2803 | 2803. AR 3rd reclose (LD0.DARREC1 Autoreclosing (1))
159 | 2804 | sp | sp_PrgRec4_stVal_2804 | 2804. AR 4th reclose (LD0.DARREC1 Autoreclosing (1))
160 | 2805 | sp | sp_PrgRec5_stVal_2805 | 2805. AR 5th reclose (LD0.DARREC1 Autoreclosing (1))
161 | 2806 | sp | sp_SucRec_stVal_2806 | 2806. Успішне АПВ (LD0.DARREC1 Autoreclosing (1))
162 | 2807 | sp | sp_UnsRec_stVal_2807 | 2807. Стан АР. Fail (LD0.DARREC1 Autoreclosing (1))
163 | 2808 | sp | sp_LO_stVal_2808 | 2808. Стан АР. Lockout (LD0.DARREC1 Autoreclosing (1))
164 | 2809 | sp | sp_RdyRec_stVal_2809 | 2809. Стан АР. Ready (LD0.DARREC1 Autoreclosing (1))
165 | 2810 | sp | sp_ActRec_stVal_2810 | 2810. Стан АР. Active (LD0.DARREC1 Autoreclosing (1))
166 | 2811 | sp | sp_PrgDsr_stVal_2811 | 2811. Discrimination time inpro. (LD0.DARREC1 Autoreclosing (1))
167 | 2812 | sp | sp_PrgCutOut_stVal_2812 | 2812. Cutout time in progress (LD0.DARREC1 Autoreclosing (1))
168 | 2813 | sp | sp_FrqOpAlm_stVal_2813 | 2813. Frequent operation alarm (LD0.DARREC1 Autoreclosing (1))
169 | 2814 | sp | sp_CBManCls_stVal_2814 | 2814. CB manually closed (LD0.DARREC1 Autoreclosing (1))
170 | 2815 | sp | sp_OpCls_general_2815 | 2815. Operate (close XCBR) (LD0.DARREC1 Autoreclosing (1))
171 | 2816 | sp | sp_OpOpn_general_2816 | 2816. Operate (open XCBR) (LD0.DARREC1 Autoreclosing (1))
172 | 2817 | sp | sp_UnsCBCls_stVal_2817 | 2817. CB closing failed (LD0.DARREC1 Autoreclosing (1))
173 | 2818 | sp | sp_WtMstr_stVal_2818 | 2818. Master signal to follower (LD0.DARREC1 Autoreclosing (1))
174 | 2819 | sp | sp_AutoRecOn_stVal_2819 | 2819. АПВ уведено/виведено (LD0.DARREC1 Autoreclosing (1))
175 | 2820 | sp | sp_PrgRec_stVal_2820 | 2820. AR in progress (LD0.DARREC2 Autoreclosing (2))
176 | 2821 | sp | sp_PrgRec1_stVal_2821 | 2821. AR 1st reclose (LD0.DARREC2 Autoreclosing (2))
177 | 2822 | sp | sp_PrgRec2_stVal_2822 | 2822. AR 2nd reclose (LD0.DARREC2 Autoreclosing (2))
178 | 2823 | sp | sp_PrgRec3_stVal_2823 | 2823. AR 3rd reclose (LD0.DARREC2 Autoreclosing (2))
179 | 2824 | sp | sp_PrgRec4_stVal_2824 | 2824. AR 4th reclose (LD0.DARREC2 Autoreclosing (2))
180 | 2825 | sp | sp_PrgRec5_stVal_2825 | 2825. AR 5th reclose (LD0.DARREC2 Autoreclosing (2))
181 | 2826 | sp | sp_SucRec_stVal_2826 | 2826. Succesful reclose (LD0.DARREC2 Autoreclosing (2))
182 | 2827 | sp | sp_UnsRec_stVal_2827 | 2827. Reclose fail status (LD0.DARREC2 Autoreclosing (2))
183 | 2828 | sp | sp_LO_stVal_2828 | 2828. Lockout status (LD0.DARREC2 Autoreclosing (2))
184 | 2829 | sp | sp_RdyRec_stVal_2829 | 2829. Ready reclose status (LD0.DARREC2 Autoreclosing (2))
185 | 2830 | sp | sp_ActRec_stVal_2830 | 2830. Active reclose status (LD0.DARREC2 Autoreclosing (2))
186 | 2831 | sp | sp_PrgDsr_stVal_2831 | 2831. Discrimination time inpro. (LD0.DARREC2 Autoreclosing (2))
187 | 2832 | sp | sp_PrgCutOut_stVal_2832 | 2832. Cutout time in progress (LD0.DARREC2 Autoreclosing (2))
188 | 2833 | sp | sp_FrqOpAlm_stVal_2833 | 2833. Frequent operation alarm (LD0.DARREC2 Autoreclosing (2))
189 | 2834 | sp | sp_CBManCls_stVal_2834 | 2834. CB manually closed (LD0.DARREC2 Autoreclosing (2))
190 | 2835 | sp | sp_OpCls_general_2835 | 2835. Operate (close XCBR) (LD0.DARREC2 Autoreclosing (2))
191 | 2836 | sp | sp_OpOpn_general_2836 | 2836. Operate (open XCBR) (LD0.DARREC2 Autoreclosing (2))
192 | 2837 | sp | sp_UnsCBCls_stVal_2837 | 2837. CB closing failed (LD0.DARREC2 Autoreclosing (2))
193 | 2838 | sp | sp_WtMstr_stVal_2838 | 2838. Master signal to follower (LD0.DARREC2 Autoreclosing (2))
194 | 2839 | sp | sp_AutoRecOn_stVal_2839 | 2839. AR on/off (LD0.DARREC2 Autoreclosing (2))
195 | 3000 | sp | sp_EnaCls_stVal_3000 | 3000. Close enabled (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
196 | 3001 | sp | sp_EnaOpn_stVal_3001 | 3001. Open enabled (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
197 | 3002 | sp | sp_SynItlByps_stVal_3002 | 3002. Interlocking bypass (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
198 | 3003 | sp | sp_Pos_stSeld_3003 | 3003. ВВ вибрано (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
199 | 3004 | sp | sp_BlkCls_stVal_3004 | 3004. УВМ ВВ заблоковано (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
200 | 3005 | sp | sp_BlkOpn_stVal_3005 | 3005. ВИК ВВ заблоковано (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
201 | 3008 | sp | sp_OpEx_general_3008 | 3008. Failure ext.trip (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
202 | 3009 | sp | sp_OpIn_general_3009 | 3009. Operate, re-trip (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
203 | 3010 | sp | sp_Str_general_3010 | 3010. Start, timer running (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
204 | 3012 | sp | sp_EnaCls_stVal_3012 | 3012. Close enabled (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
205 | 3013 | sp | sp_EnaOpn_stVal_3013 | 3013. Open enabled (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
206 | 3014 | sp | sp_SynItlByps_stVal_3014 | 3014. Interlocking bypass (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
207 | 3015 | sp | sp_Pos_stSeld_3015 | 3015. CB selected (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
208 | 3016 | sp | sp_BlkCls_stVal_3016 | 3016. Close blocked (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
209 | 3017 | sp | sp_BlkOpn_stVal_3017 | 3017. Open blocked (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
210 | 3020 | sp | sp_OpEx_general_3020 | 3020. Failure ext.trip (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
211 | 3021 | sp | sp_OpIn_general_3021 | 3021. Operate, re-trip (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
212 | 3022 | sp | sp_Str_general_3022 | 3022. Start, timer running (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
213 | 3067 | sp | sp_APwrAlm_stVal_3067 | 3067. lyt alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
214 | 3068 | sp | sp_APwrLO_stVal_3068 | 3068. lyt lockout (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
215 | 3069 | sp | sp_RmnNumOpAlm_stVal_3069 | 3069. CB lifetime alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
216 | 3070 | sp | sp_ClsAlm_stVal_3070 | 3070. Close travel time alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
217 | 3071 | sp | sp_LonTmAlm_stVal_3071 | 3071. CB inactive alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
218 | 3072 | sp | sp_OpnAlm_stVal_3072 | 3072. Open travel time alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
219 | 3073 | sp | sp_OpCntAlm_stVal_3073 | 3073. CB operations alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
220 | 3074 | sp | sp_OpCntLO_stVal_3074 | 3074. CB operations lockout (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
221 | 3075 | sp | sp_InsAlm_stVal_3075 | 3075. Low pressure alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
222 | 3076 | sp | sp_InsBlk_stVal_3076 | 3076. Low pressure lockout (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
223 | 3077 | sp | sp_SprChaAlm_stVal_3077 | 3077. Spring charge time alarm (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
224 | 3086 | sp | sp_Alm_stVal_3086 | 3086. Current total demand distortion (1) (LD0.CMHAI1 Current total demand distortion (1))
225 | 3087 | sp | sp_Alm_stVal_3087 | 3087. Voltage total harmonic distortion (1) (LD0.VMHAI1 Voltage total harmonic distortion (1))
226 | 3100 | sp | sp_EnaCls_stVal_3100 | 3100. Close enabled (CTRL.DCXSWI1 Disconnector control (1))
227 | 3101 | sp | sp_EnaOpn_stVal_3101 | 3101. Open enabled (CTRL.DCXSWI1 Disconnector control (1))
228 | 3102 | sp | sp_ItlByPss_stVal_3102 | 3102. Interlocking bypass (CTRL.DCXSWI1 Disconnector control (1))
229 | 3103 | sp | sp_Pos_stSeld_3103 | 3103. CB selected (CTRL.DCXSWI1 Disconnector control (1))
230 | 3104 | sp | sp_BlkCls_stVal_3104 | 3104. Close blocked (CTRL.DCXSWI1 Disconnector control (1))
231 | 3105 | sp | sp_BlkOpn_stVal_3105 | 3105. Open blocked (CTRL.DCXSWI1 Disconnector control (1))
232 | 3106 | sp | sp_EnaCls_stVal_3106 | 3106. Close enabled (CTRL.DCXSWI2 Disconnector control (2))
233 | 3107 | sp | sp_EnaOpn_stVal_3107 | 3107. Open enabled (CTRL.DCXSWI2 Disconnector control (2))
234 | 3108 | sp | sp_ItlByPss_stVal_3108 | 3108. Interlocking bypass (CTRL.DCXSWI2 Disconnector control (2))
235 | 3109 | sp | sp_Pos_stSeld_3109 | 3109. CB selected (CTRL.DCXSWI2 Disconnector control (2))
236 | 3110 | sp | sp_BlkCls_stVal_3110 | 3110. Close blocked (CTRL.DCXSWI2 Disconnector control (2))
237 | 3111 | sp | sp_BlkOpn_stVal_3111 | 3111. Open blocked (CTRL.DCXSWI2 Disconnector control (2))
238 | 3112 | sp | sp_EnaCls_stVal_3112 | 3112. Close enabled (CTRL.DCXSWI3 Disconnector control (3))
239 | 3113 | sp | sp_EnaOpn_stVal_3113 | 3113. Open enabled (CTRL.DCXSWI3 Disconnector control (3))
240 | 3114 | sp | sp_ItlByPss_stVal_3114 | 3114. Interlocking bypass (CTRL.DCXSWI3 Disconnector control (3))
241 | 3115 | sp | sp_Pos_stSeld_3115 | 3115. CB selected (CTRL.DCXSWI3 Disconnector control (3))
242 | 3116 | sp | sp_BlkCls_stVal_3116 | 3116. Close blocked (CTRL.DCXSWI3 Disconnector control (3))
243 | 3117 | sp | sp_BlkOpn_stVal_3117 | 3117. Open blocked (CTRL.DCXSWI3 Disconnector control (3))
244 | 3118 | sp | sp_EnaCls_stVal_3118 | 3118. Close enabled (CTRL.DCXSWI4 Disconnector control (4))
245 | 3119 | sp | sp_EnaOpn_stVal_3119 | 3119. Open enabled (CTRL.DCXSWI4 Disconnector control (4))
246 | 3120 | sp | sp_ItlByPss_stVal_3120 | 3120. Interlocking bypass (CTRL.DCXSWI4 Disconnector control (4))
247 | 3121 | sp | sp_Pos_stSeld_3121 | 3121. CB selected (CTRL.DCXSWI4 Disconnector control (4))
248 | 3122 | sp | sp_BlkCls_stVal_3122 | 3122. Close blocked (CTRL.DCXSWI4 Disconnector control (4))
249 | 3123 | sp | sp_BlkOpn_stVal_3123 | 3123. Open blocked (CTRL.DCXSWI4 Disconnector control (4))
250 | 3124 | sp | sp_EnaCls_stVal_3124 | 3124. Close enabled (CTRL.DCXSWI5 Disconnector control (5))
251 | 3125 | sp | sp_EnaOpn_stVal_3125 | 3125. Open enabled (CTRL.DCXSWI5 Disconnector control (5))
252 | 3126 | sp | sp_ItlByPss_stVal_3126 | 3126. Interlocking bypass (CTRL.DCXSWI5 Disconnector control (5))
253 | 3127 | sp | sp_Pos_stSeld_3127 | 3127. CB selected (CTRL.DCXSWI5 Disconnector control (5))
254 | 3128 | sp | sp_BlkCls_stVal_3128 | 3128. Close blocked (CTRL.DCXSWI5 Disconnector control (5))
255 | 3129 | sp | sp_BlkOpn_stVal_3129 | 3129. Open blocked (CTRL.DCXSWI5 Disconnector control (5))
256 | 3130 | sp | sp_EnaCls_stVal_3130 | 3130. Close enabled (CTRL.DCXSWI6 Disconnector control (6))
257 | 3131 | sp | sp_EnaOpn_stVal_3131 | 3131. Open enabled (CTRL.DCXSWI6 Disconnector control (6))
258 | 3132 | sp | sp_ItlByPss_stVal_3132 | 3132. Interlocking bypass (CTRL.DCXSWI6 Disconnector control (6))
259 | 3133 | sp | sp_Pos_stSeld_3133 | 3133. CB selected (CTRL.DCXSWI6 Disconnector control (6))
260 | 3134 | sp | sp_BlkCls_stVal_3134 | 3134. Close blocked (CTRL.DCXSWI6 Disconnector control (6))
261 | 3135 | sp | sp_BlkOpn_stVal_3135 | 3135. Open blocked (CTRL.DCXSWI6 Disconnector control (6))
262 | 3136 | sp | sp_EnaCls_stVal_3136 | 3136. Close enabled (CTRL.DCXSWI7 Disconnector control (7))
263 | 3137 | sp | sp_EnaOpn_stVal_3137 | 3137. Open enabled (CTRL.DCXSWI7 Disconnector control (7))
264 | 3138 | sp | sp_ItlByPss_stVal_3138 | 3138. Interlocking bypass (CTRL.DCXSWI7 Disconnector control (7))
265 | 3139 | sp | sp_Pos_stSeld_3139 | 3139. CB selected (CTRL.DCXSWI7 Disconnector control (7))
266 | 3140 | sp | sp_BlkCls_stVal_3140 | 3140. Close blocked (CTRL.DCXSWI7 Disconnector control (7))
267 | 3141 | sp | sp_BlkOpn_stVal_3141 | 3141. Open blocked (CTRL.DCXSWI7 Disconnector control (7))
268 | 3142 | sp | sp_EnaCls_stVal_3142 | 3142. Close enabled (CTRL.DCXSWI8 Disconnector control (8))
269 | 3143 | sp | sp_EnaOpn_stVal_3143 | 3143. Open enabled (CTRL.DCXSWI8 Disconnector control (8))
270 | 3144 | sp | sp_ItlByPss_stVal_3144 | 3144. Interlocking bypass (CTRL.DCXSWI8 Disconnector control (8))
271 | 3145 | sp | sp_Pos_stSeld_3145 | 3145. CB selected (CTRL.DCXSWI8 Disconnector control (8))
272 | 3146 | sp | sp_BlkCls_stVal_3146 | 3146. Close blocked (CTRL.DCXSWI8 Disconnector control (8))
273 | 3147 | sp | sp_BlkOpn_stVal_3147 | 3147. Open blocked (CTRL.DCXSWI8 Disconnector control (8))
274 | 4701 | sp | sp_HiAlm_stVal_4701 | 4701. High alarm (LD0.CMMXU1 Three-phase current measurement (1))
275 | 4702 | sp | sp_HiWrn_stVal_4702 | 4702. High warning (LD0.CMMXU1 Three-phase current measurement (1))
276 | 4703 | sp | sp_LoWrn_stVal_4703 | 4703. Low warning (LD0.CMMXU1 Three-phase current measurement (1))
277 | 4704 | sp | sp_LoAlm_stVal_4704 | 4704. Low alarm (LD0.CMMXU1 Three-phase current measurement (1))
278 | 4705 | sp | sp_HiAlm_stVal_4705 | 4705. High alarm (LD0.CMMXU2 Three-phase current measurement (2))
279 | 4706 | sp | sp_HiWrn_stVal_4706 | 4706. High warning (LD0.CMMXU2 Three-phase current measurement (2))
280 | 4707 | sp | sp_LoWrn_stVal_4707 | 4707. Low warning (LD0.CMMXU2 Three-phase current measurement (2))
281 | 4708 | sp | sp_LoAlm_stVal_4708 | 4708. Low alarm (LD0.CMMXU2 Three-phase current measurement (2))
282 | 4709 | sp | sp_HiAlm_stVal_4709 | 4709. High alarm (LD0.RESCMMXU1 Residual current measurement (1))
283 | 4710 | sp | sp_HiWrn_stVal_4710 | 4710. High warning (LD0.RESCMMXU1 Residual current measurement (1))
284 | 4715 | sp | sp_HiAlm_stVal_4715 | 4715. High alarm (LD0.VMMXU1 Three-phase voltage measurement (1))
285 | 4716 | sp | sp_HiWrn_stVal_4716 | 4716. High warning (LD0.VMMXU1 Three-phase voltage measurement (1))
286 | 4717 | sp | sp_LoAlm_stVal_4717 | 4717. Low alarm (LD0.VMMXU1 Three-phase voltage measurement (1))
287 | 4718 | sp | sp_LoWrn_stVal_4718 | 4718. Low warning (LD0.VMMXU1 Three-phase voltage measurement (1))
288 | 5020 | sp | sp_Ind1_stVal_5020 | 5020. Input 1 state (LD0.XGGIO110 Physical I/O states)
289 | 5021 | sp | sp_Ind2_stVal_5021 | 5021. Input 2 state (LD0.XGGIO110 Physical I/O states)
290 | 5022 | sp | sp_Ind3_stVal_5022 | 5022. Input 3 state (LD0.XGGIO110 Physical I/O states)
291 | 5023 | sp | sp_Ind4_stVal_5023 | 5023. Input 4 state (LD0.XGGIO110 Physical I/O states)
292 | 5024 | sp | sp_Ind5_stVal_5024 | 5024. Input 5 state (LD0.XGGIO110 Physical I/O states)
293 | 5025 | sp | sp_Ind6_stVal_5025 | 5025. Input 6 state (LD0.XGGIO110 Physical I/O states)
294 | 5026 | sp | sp_Ind7_stVal_5026 | 5026. Input 7 state (LD0.XGGIO110 Physical I/O states)
295 | 5027 | sp | sp_Ind8_stVal_5027 | 5027. Input 8 state (LD0.XGGIO110 Physical I/O states)
296 | 5030 | sp | sp_SPCSO01_stVal_5030 | 5030. Output 1 state (LD0.XGGIO110 Physical I/O states)
297 | 5031 | sp | sp_SPCSO02_stVal_5031 | 5031. Output 2 state (LD0.XGGIO110 Physical I/O states)
298 | 5032 | sp | sp_SPCSO03_stVal_5032 | 5032. Output 3 state (LD0.XGGIO110 Physical I/O states)
299 | 5033 | sp | sp_SPCSO04_stVal_5033 | 5033. Output 4 state (LD0.XGGIO110 Physical I/O states)
300 | 5040 | sp | sp_SPCSO01_stVal_5040 | 5040. Output 1 state (LD0.XGGIO100 Physical I/O states)
301 | 5041 | sp | sp_SPCSO02_stVal_5041 | 5041. Output 2 state (LD0.XGGIO100 Physical I/O states)
302 | 5042 | sp | sp_SPCSO03_stVal_5042 | 5042. Output 3 state (LD0.XGGIO100 Physical I/O states)
303 | 5043 | sp | sp_SPCSO04_stVal_5043 | 5043. Output 4 state (LD0.XGGIO100 Physical I/O states)
304 | 5044 | sp | sp_SPCSO05_stVal_5044 | 5044. Output 5 state (LD0.XGGIO100 Physical I/O states)
305 | 5045 | sp | sp_SPCSO06_stVal_5045 | 5045. Output 6 state (LD0.XGGIO100 Physical I/O states)
306 | 5090 | sp | sp_SPCS01_stVal_5090 | 5090. Output 1 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
307 | 5091 | sp | sp_SPCS02_stVal_5091 | 5091. Output 2 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
308 | 5092 | sp | sp_SPCS03_stVal_5092 | 5092. Output 3 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
309 | 5093 | sp | sp_SPCS04_stVal_5093 | 5093. Output 4 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
310 | 5094 | sp | sp_SPCS05_stVal_5094 | 5094. Output 5 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
311 | 5095 | sp | sp_SPCS06_stVal_5095 | 5095. Output 6 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
312 | 5096 | sp | sp_SPCS07_stVal_5096 | 5096. Output 7 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
313 | 5097 | sp | sp_SPCS08_stVal_5097 | 5097. Output 8 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
314 | 5098 | sp | sp_SPCS09_stVal_5098 | 5098. Output 9 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
315 | 5099 | sp | sp_SPCS10_stVal_5099 | 5099. Output 10 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
316 | 5100 | sp | sp_SPCS11_stVal_5100 | 5100. Output 11 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
317 | 5101 | sp | sp_SPCS12_stVal_5101 | 5101. Output 12 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
318 | 5102 | sp | sp_SPCS13_stVal_5102 | 5102. Output 13 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
319 | 5103 | sp | sp_SPCS14_stVal_5103 | 5103. Output 14 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
320 | 5104 | sp | sp_SPCS15_stVal_5104 | 5104. Output 15 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
321 | 5105 | sp | sp_SPCS16_stVal_5105 | 5105. Output 16 state (LD0.SPCGAPC1 Generic control point (16 pcs) (1))
322 | 7001 | dp | dp_Pos_stVal_7001 | 7001. Положення ВВ (CTRL.Cxxxxx1 Circuit breaker - CB object and failure protection (1))
323 | 7002 | dp | dp_Pos_stVal_7002 | 7002. Interm.=0; Off=1; On=2; Bad=3 (CTRL.Cxxxxx2 Circuit breaker - CB object and failure protection (2))
324 | 7050 | sp | sp_Pos_stVal_7050 | 7050. Interm.=0; Off=1; On=2; Bad=3 (CTRL.ESSXSWI1 Earthing switch indication (1))
325 | 7114 | dp | dp_Pos_stVal_7114 | 7114. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCSXSWI1 Disconnector position indication (1))
326 | 7115 | dp | dp_Pos_stVal_7115 | 7115. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCSXSWI2 Disconnector position indication (2))
327 | 7120 | dp | dp_Pos_stVal_7120 | 7120. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCXSWI1 Disconnector control (1))
328 | 7130 | dp | dp_Pos_stVal_7130 | 7130. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCXSWI2 Disconnector control (2))
329 | 7140 | dp | dp_Pos_stVal_7140 | 7140. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCXSWI3 Disconnector control (3))
330 | 7150 | dp | dp_Pos_stVal_7150 | 7150. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCXSWI4 Disconnector control (4))
331 | 7160 | dp | dp_Pos_stVal_7160 | 7160. Interm.=0; Off=1; On=2; Bad=3 (CTRL.DCXSWI5 Disconnector control (5))
332 | 7161 | dp | dp_Pos_stVal_7161 | 7161. Interm.=0 Off=1 On=2 Bad=3 (CTRL.DCXSWI6 Disconnector control (6))
333 | 7162 | dp | dp_Pos_stVal_7162 | 7162. Interm.=0 Off=1 On=2 Bad=3 (CTRL.DCXSWI7 Disconnector control (7))
334 | 7163 | dp | dp_Pos_stVal_7163 | 7163. Interm.=0 Off=1 On=2 Bad=3 (CTRL.DCXSWI8 Disconnector control (8))
335 | 8000 | fv | fv_cVal_phsA_mag_8000 | 8000. - phase A magnitude (LD0.CMMXU1 Three-phase current measurement (1))
336 | 8001 | fv | fv_cVal_phsB_mag_8001 | 8001. - phase B magnitude (LD0.CMMXU1 Three-phase current measurement (1))
337 | 8002 | fv | fv_cVal_phsC_mag_8002 | 8002. - phase C magnitude (LD0.CMMXU1 Three-phase current measurement (1))
338 | 8012 | fv | fv_SeqA_c1_cVal_mag_f_8012 | 8012. - positive magnitude (LD0.CSMSQI1 Sequence current measurement (1))
339 | 8013 | fv | fv_SeqA_c2_cVal_mag_f_8013 | 8013. - negative magnitude (LD0.CSMSQI1 Sequence current measurement (1))
340 | 8014 | fv | fv_SeqA_c3_cVal_mag_f_8014 | 8014. - zero magnitude (LD0.CSMSQI1 Sequence current measurement (1))
341 | 8024 | fv | fv_OpCnt_stVal_8024 | 8024. Fault record number (LD0.FLTRFRC1 Fault record (1))
342 | 8025 | fv | fv_Hz_mag_8025 | 8025. Frequency (LD0.FMMXU1 Frequency measurement (1))
343 | 8032 | fv | fv_TotPF_mag_8032 | 8032. Average power factor (LD0.PEMMXU1 Three-phase power and energy measurement (1))
344 | 8033 | fv | fv_TotW_mag_8033 | 8033. Total active power P (LD0.PEMMXU1 Three-phase power and energy measurement (1))
345 | 8034 | fv | fv_TotVA_mag_8034 | 8034. Total apparent power S (LD0.PEMMXU1 Three-phase power and energy measurement (1))
346 | 8035 | fv | fv_TotVAr_mag_8035 | 8035. Total reactive power Q (LD0.PEMMXU1 Three-phase power and energy measurement (1))
347 | 8036 | fv | fv_cVal_res_mag_8036 | 8036. - residual magnitude (LD0.RESCMMXU1 Residual current measurement (1))
348 | 8047 | fv | fv_cVal_phsA_mag_8047 | 8047. - phase A magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
349 | 8048 | fv | fv_cVal_phsB_mag_8048 | 8048. - phase B magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
350 | 8049 | fv | fv_cVal_phsC_mag_8049 | 8049. - phase C magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
351 | 8050 | fv | fv_cVal_phsAB_mag_8050 | 8050. - phase AB magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
352 | 8051 | fv | fv_cVal_phsBC_mag_8051 | 8051. - phase BC magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
353 | 8052 | fv | fv_cVal_phsCA_mag_8052 | 8052. - phase CA magnitude (LD0.VMMXU1 Three-phase voltage measurement (1))
354 | 8069 | fv | fv_PhV_res_cVal_mag_8069 | 8069. - residual magnitude (LD0.RESVMMXU1 Residual voltage measurement (1))
355 | 8076 | fv | fv_SeqA_c1_instCVal_mag_8076 | 8076. - positive magnitude (LD0.VSMSQI1 Sequence voltage measurement (1))
356 | 8077 | fv | fv_SeqA_c2_instCVal_mag_8077 | 8077. - negative magnitude (LD0.VSMSQI1 Sequence voltage measurement (1))
357 | 8078 | fv | fv_SeqA_c3_instCVal_mag_8078 | 8078. - zero magnitude (LD0.VSMSQI1 Sequence voltage measurement (1))
358 | 8501 | nv | nv_LEDSt1_stVal_8501 | 8501. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
359 | 8502 | nv | nv_LEDSt2_stval_8502 | 8502. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
360 | 8503 | nv | nv_LEDSt3_stval_8503 | 8503. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
361 | 8504 | nv | nv_LEDSt4_stval_8504 | 8504. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
362 | 8505 | nv | nv_LEDSt5_stval_8505 | 8505. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
363 | 8506 | nv | nv_LEDSt6_stval_8506 | 8506. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
364 | 8507 | nv | nv_LEDSt7_stval_8507 | 8507. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
365 | 8508 | nv | nv_LEDSt8_stval_8508 | 8508. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
366 | 8509 | nv | nv_LEDSt9_stval_8509 | 8509. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
367 | 8510 | nv | nv_LEDSt10_stval_8510 | 8510. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
368 | 8511 | nv | nv_LEDSt11_stVal_8511 | 8511. 0=Off; 1=Alarm; 2=Warning (LD0.LEDGGIO1 LED states (1))
369 | 8512 | nv | nv_stVal_8512 | 8512. Operating days (hours × 0.0417) (LD0.MDSOPT1 Runtime counter for machines and devices (1))
370 | 8515 | nv | nv_TmSyn_stVal_8515 | 8515. IEC 61850-9-2 source (General device data)
371 | 8516 | nv | nv_TmSrcSt_stVal_8516 | 8516. Current time source (General device data)
372 | 10002 | nv | nv_LocKeyHMI_stVal_10002 | 10002. Local/Remote state analog (General device data)
373 | 10003 | nv | nv_ChgAckCnt_stVal_10003 | 10003. Num of comp changes (General device data)
374 | 10004 | nv | nv_NumPwrUp_stVal_10004 | 10004. Num of power ups (General device data)
375 | 10005 | nv | nv_PhyHealth_stVal_10005 | 10005. Device Health (General device data)
376 | 10006 | nv | nv_DevWrn_stVal_10006 | 10006. Warning code (General device data)
377 | 10007 | nv | nv_DevFail_stVal_10007 | 10007. Fault code (General device data)
378 | 10008 | nv | nv_WacTrg_stVal_10008 | 10008. Num of wdog starts (General device data)
379 | 10009 | nv | nv_WrmStr_stVal_10009 | 10009. Num of warm starts (General device data)
380 | 10103 | nv | nv_AutoRecSt_stVal_10103 | 10103. Autorec. status (LD0.DARREC1 Autoreclosing (1))
381 | 10104 | nv | nv_ShotPntr_stVal_10104 | 10104. Shot pointer value (LD0.DARREC1 Autoreclosing (1))
382 | 10111 | nv | nv_FltNum_stVal_10111 | 10111. Number of DR recordings (General device data)
383 | 10112 | nv | nv_MemUsed_stVal_10112 | 10112. DR Rec. memory used (General device data)
384 | 10131 | fv | fv_AccmAPwr_mag_10131 | 10131. Iyt value, phase A (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
385 | 10132 | fv | fv_AccmAPwr_mag_10132 | 10132. Iyt value, phase B (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
386 | 10133 | fv | fv_AccmAPwr_mag_10133 | 10133. Iyt value, phase C (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
387 | 10134 | nv | nv_InaTmdCnt_stVal_10134 | 10134. CB inactive days (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
388 | 10135 | nv | nv_OpCntRs_stVal_10135 | 10135. CB op.counter (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
389 | 10136 | nv | nv_RmnNumOp_stVal_10136 | 10136. Remaining life, phase A (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
390 | 10137 | nv | nv_RmnNumOp_stVal_10137 | 10137. Remaining life, phase B (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
391 | 10138 | nv | nv_RmnNumOp_stVal_10138 | 10138. Remaining life, phase C (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
392 | 10139 | fv | fv_OpTmCls_mag_10139 | 10139. Close travel time (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
393 | 10140 | fv | fv_OpTmOpn_mag_10140 | 10140. Open travel time (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
394 | 10141 | fv | fv_TmsSprCha_mag_10141 | 10141. Spring charge time (LD0.SSCBR1 Circuit-breaker condition monitoring (1))
395 | 10151 | nv | nv_Dir_dirGeneral_10151 | 10151. Direction information (LD0.DPSRDIR1 Three-phase power directional element (1))
396 | 12000 | fv | fv_StrDur_mag_12000 | 12000. Start duration (LD0.FLTRFRC1 Fault record (1))
397 | 12001 | fv | fv_StrOpTm_mag_12001 | 12001. Operate time (LD0.FLTRFRC1 Fault record (1))
398 | 12002 | fv | fv_ProFcn_stVal_12002 | 12002. Protection function (LD0.FLTRFRC1 Fault record (1))
399 | 12003 | fv | fv_ActSetGr_stVal_12003 | 12003. Active setting group (LD0.FLTRFRC1 Fault record (1))
400 | 12004 | fv | fv_ShotPntr_stVal_12004 | 12004. AR Shot pointer (LD0.FLTRFRC1 Fault record (1))
401 | 12005 | fv | fv_FltDiskm_mag_12005 | 12005. Fault distance (LD0.FLTRFRC1 Fault record (1))
402 | 12006 | fv | fv_FltPtR_mag_12006 | 12006. Fault resistance (LD0.FLTRFRC1 Fault record (1))
403 | 12007 | fv | fv_PhReact_mag_12007 | 12007. Fault reactance (LD0.FLTRFRC1 Fault record (1))
404 | 12015 | fv | fv_Max50APhsA1_mag_12015 | 12015. Maximum phase A current 1 (LD0.FLTRFRC1 Fault record (1))
405 | 12016 | fv | fv_Max50APhsB1_mag_12016 | 12016. Maximum phase B current 1 (LD0.FLTRFRC1 Fault record (1))
406 | 12017 | fv | fv_Max50APhsC1_mag_12017 | 12017. Maximum phase C current 1 (LD0.FLTRFRC1 Fault record (1))
407 | 12018 | fv | fv_Max50ARes1_mag_12018 | 12018. Maximum residual current 1 (LD0.FLTRFRC1 Fault record (1))
408 | 12019 | fv | fv_APhsA1_mag_12019 | 12019. Phase A current 1 (LD0.FLTRFRC1 Fault record (1))
409 | 12020 | fv | fv_APhsB1_mag_12020 | 12020. Phase B current 1 (LD0.FLTRFRC1 Fault record (1))
410 | 12021 | fv | fv_APhsC1_mag_12021 | 12021. Phase C current 1 (LD0.FLTRFRC1 Fault record (1))
411 | 12022 | fv | fv_ARes1_mag_12022 | 12022. Residual current 1 (LD0.FLTRFRC1 Fault record (1))
412 | 12023 | fv | fv_AResClc1_mag_12023 | 12023. Calculated residual current 1 (LD0.FLTRFRC1 Fault record (1))
413 | 12024 | fv | fv_APsSeq1_mag_12024 | 12024. Positive sequence current 1 (LD0.FLTRFRC1 Fault record (1))
414 | 12025 | fv | fv_ANgSeq1_mag_12025 | 12025. Negtive sequence current 1 (LD0.FLTRFRC1 Fault record (1))
415 | 12037 | fv | fv_PhVPhsA1_mag_12037 | 12037. Phase A voltage 1 (LD0.FLTRFRC1 Fault record (1))
416 | 12038 | fv | fv_PhVPhsB1_mag_12038 | 12038. Phase B voltage 1 (LD0.FLTRFRC1 Fault record (1))
417 | 12039 | fv | fv_PhVPhsC1_mag_12039 | 12039. Phase C voltage 1 (LD0.FLTRFRC1 Fault record (1))
418 | 12040 | fv | fv_PPVPhsAB1_mag_12040 | 12040. Phase A-B voltage 1 (LD0.FLTRFRC1 Fault record (1))
419 | 12041 | fv | fv_PPVPhsBC1_mag_12041 | 12041. Phase B-C voltage 1 (LD0.FLTRFRC1 Fault record (1))
420 | 12042 | fv | fv_PPVPhsCA1_mag_12042 | 12042. Phase C-A voltage 1 (LD0.FLTRFRC1 Fault record (1))
421 | 12043 | fv | fv_VRes1_mag_12043 | 12043. Residual voltage 1 (LD0.FLTRFRC1 Fault record (1))
422 | 12044 | fv | fv_VZro1_mag_12044 | 12044. Zero sequence voltage 1 (LD0.FLTRFRC1 Fault record (1))
423 | 12045 | fv | fv_VPsSeq1_mag_12045 | 12045. Positive sequence voltage 1 (LD0.FLTRFRC1 Fault record (1))
424 | 12046 | fv | fv_VNgSeq1_mag_12046 | 12046. Negative sequence voltage 1 (LD0.FLTRFRC1 Fault record (1))
425 | 12047 | fv | fv_MaxTmpRl_mag_12047 | 12047. PTTR thermal level (LD0.FLTRFRC1 Fault record (1))
426 | 12048 | fv | fv_AMaxNgPs_mag_12048 | 12048. PDNSPTOC1 ratio I2/I1 (LD0.FLTRFRC1 Fault record (1))
427 | 12049 | fv | fv_DifANAngVN1_mag_12049 | 12049. Angle Uo - Io (1) (LD0.FLTRFRC1 Fault record (1))
428 | 12050 | fv | fv_DifAAAngVBC1_mag_12050 | 12050. Angle U23 - IL1 (1) (LD0.FLTRFRC1 Fault record (1))
429 | 12051 | fv | fv_DifABAngVCA1_mag_12051 | 12051. Angle U31 - IL2 (1) (LD0.FLTRFRC1 Fault record (1))
430 | 12052 | fv | fv_DifACAngVAB1_mag_12052 | 12052. Angle U12 - IL3 (1) (LD0.FLTRFRC1 Fault record (1))
431 | 12053 | fv | fv_Hz_mag_12053 | 12053. Frequency (LD0.FLTRFRC1 Fault record (1))
432 | 12054 | fv | fv_HzRteChg_mag_12054 | 12054. Frequency gradient (LD0.FLTRFRC1 Fault record (1))
433 | 12055 | fv | fv_CondNeut_mag_12055 | 12055. Conductance Yo (LD0.FLTRFRC1 Fault record (1))
434 | 12056 | fv | fv_SusNeut_mag_12056 | 12056. Susceptance Yo (LD0.FLTRFRC1 Fault record (1))
435 | 12059 | fv | fv_VRes2_mag_12059 | 12059. Residual voltage 2 (LD0.FLTRFRC1 Fault record (1))
436 | 12060 | fv | fv_PhVPhsA2_mag_12060 | 12060. Phase A voltage 2 (LD0.FLTRFRC1 Fault record (1))
437 | 12061 | fv | fv_PhVPhsB2_mag_12061 | 12061. Phase B voltage 2 (LD0.FLTRFRC1 Fault record (1))
438 | 12062 | fv | fv_PhVPhsC2_mag_12062 | 12062. Phase C voltage 2 (LD0.FLTRFRC1 Fault record (1))
439 | 12063 | fv | fv_PPVPhsAB2_mag_12063 | 12063. Phase A-B voltage 2 (LD0.FLTRFRC1 Fault record (1))
440 | 12064 | fv | fv_PPVPhsBC2_mag_12064 | 12064. Phase B-C voltage 2 (LD0.FLTRFRC1 Fault record (1))
441 | 12065 | fv | fv_PPVPhsCA2_mag_12065 | 12065. Phase C-A voltage 2 (LD0.FLTRFRC1 Fault record (1))
442 | 12066 | fv | fv_VZro2_mag_12066 | 12066. Zero sequence voltage 2 (LD0.FLTRFRC1 Fault record (1))
443 | 12067 | fv | fv_VPsSeq2_mag_12067 | 12067. Positive sequence voltage 2 (LD0.FLTRFRC1 Fault record (1))
444 | 12068 | fv | fv_VNgSeq2_mag_12068 | 12068. Negative sequence voltage 2 (LD0.FLTRFRC1 Fault record (1))
445 | 12071 | fv | fv_CBClrTm_mag_12071 | 12071. Breaker clear time (LD0.FLTRFRC1 Fault record (1))
446 | 12075 | fv | fv_DifANAngVN2_mag_12075 | 12075. Angle Uo - Io (2) (LD0.FLTRFRC1 Fault record (1))
447 | 12076 | fv | fv_DifAAAngVBC2_mag_12076 | 12076. Angle U23 - IL1 (2) (LD0.FLTRFRC1 Fault record (1))
448 | 12077 | fv | fv_DifABAngVCA2_mag_12077 | 12077. Angle U31 - IL2 (2) (LD0.FLTRFRC1 Fault record (1))
449 | 12078 | fv | fv_DifACAngVAB2_mag_12078 | 12078. Angle U12 - IL3 (2) (LD0.FLTRFRC1 Fault record (1))
450 | 12080 | fv | fv_Max50APhsA2_mag_12080 | 12080. Maximum phase A current 2 (LD0.FLTRFRC1 Fault record (1))
451 | 12081 | fv | fv_Max50APhsB2_mag_12081 | 12081. Maximum phase B current 2 (LD0.FLTRFRC1 Fault record (1))
452 | 12082 | fv | fv_Max50APhsC2_mag_12082 | 12082. Maximum phase C current 2 (LD0.FLTRFRC1 Fault record (1))
453 | 12083 | fv | fv_Max50ARes2_mag_12083 | 12083. Maximum residual current 2 (LD0.FLTRFRC1 Fault record (1))
454 | 12084 | fv | fv_APhsA2_mag_12084 | 12084. Phase A current 2 (LD0.FLTRFRC1 Fault record (1))
455 | 12085 | fv | fv_APhsB2_mag_12085 | 12085. Phase B current 2 (LD0.FLTRFRC1 Fault record (1))
456 | 12086 | fv | fv_APhsC2_mag_12086 | 12086. Phase C current 2 (LD0.FLTRFRC1 Fault record (1))
457 | 12087 | fv | fv_ARes2_mag_12087 | 12087. Residual current 2 (LD0.FLTRFRC1 Fault record (1))
458 | 12088 | fv | fv_AResClc2_mag_12088 | 12088. Calculated residual current 2 (LD0.FLTRFRC1 Fault record (1))
459 | 12089 | fv | fv_APsSeq2_mag_12089 | 12089. Positive sequence current 2 (LD0.FLTRFRC1 Fault record (1))
460 | 12090 | fv | fv_ANgSeq2_mag_12090 | 12090. Negtive sequence current 2 (LD0.FLTRFRC1 Fault record (1))
461 | 12095 | fv | fv_Max50APhsA3_mag_12095 | 12095. Maximum phase A current 3 (LD0.FLTRFRC1 Fault record (1))
462 | 12096 | fv | fv_Max50APhsB3_mag_12096 | 12096. Maximum phase B current 3 (LD0.FLTRFRC1 Fault record (1))
463 | 12097 | fv | fv_Max50APhsC3_mag_12097 | 12097. Maximum phase C current 3 (LD0.FLTRFRC1 Fault record (1))
464 | 12098 | fv | fv_Max50ARes3_mag_12098 | 12098. Maximum residual current 3 (LD0.FLTRFRC1 Fault record (1))
465 | 12099 | fv | fv_APhsA3_mag_12099 | 12099. Phase A current 3 (LD0.FLTRFRC1 Fault record (1))
466 | 12100 | fv | fv_APhsB3_mag_12100 | 12100. Phase B current 3 (LD0.FLTRFRC1 Fault record (1))
467 | 12101 | fv | fv_APhsC3_mag_12101 | 12101. Phase C current 3 (LD0.FLTRFRC1 Fault record (1))
468 | 12102 | fv | fv_ARes3_mag_12102 | 12102. Residual current 3 (LD0.FLTRFRC1 Fault record (1))
469 | 12103 | fv | fv_AResClc3_mag_12103 | 12103. Calculated residual current 3 (LD0.FLTRFRC1 Fault record (1))
470 | 12104 | fv | fv_APsSeq3_mag_12104 | 12104. Positive sequence current 3 (LD0.FLTRFRC1 Fault record (1))
471 | 12105 | fv | fv_ANgSeq3_mag_12105 | 12105. Negtive sequence current 3 (LD0.FLTRFRC1 Fault record (1))
472 | 12110 | fv | fv_Max50DifAA_mag_12110 | 12110. Max diff current IL1 (LD0.FLTRFRC1 Fault record (1))
473 | 12111 | fv | fv_Max50DifAB_mag_12111 | 12111. Max diff current IL2 (LD0.FLTRFRC1 Fault record (1))
474 | 12112 | fv | fv_Max50DifAC_mag_12112 | 12112. Max diff current IL3 (LD0.FLTRFRC1 Fault record (1))
475 | 12113 | fv | fv_Max50RstAA_mag_12113 | 12113. Max bias current IL1 (LD0.FLTRFRC1 Fault record (1))
476 | 12114 | fv | fv_Max50RstAB_mag_12114 | 12114. Max bias current IL2 (LD0.FLTRFRC1 Fault record (1))
477 | 12115 | fv | fv_Max50RstAC_mag_12115 | 12115. Max bias current IL3 (LD0.FLTRFRC1 Fault record (1))
478 | 12116 | fv | fv_DifAPhsA_mag_12116 | 12116. Diff current IL1 (LD0.FLTRFRC1 Fault record (1))
479 | 12117 | fv | fv_DifAPhsB_mag_12117 | 12117. Diff current IL2 (LD0.FLTRFRC1 Fault record (1))
480 | 12118 | fv | fv_DifAPhsC_mag_12118 | 12118. Diff current IL3 (LD0.FLTRFRC1 Fault record (1))
481 | 12119 | fv | fv_RstAPhsA_mag_12119 | 12119. Bias current IL1 (LD0.FLTRFRC1 Fault record (1))
482 | 12120 | fv | fv_RstAPhsB_mag_12120 | 12120. Bias current IL2 (LD0.FLTRFRC1 Fault record (1))
483 | 12121 | fv | fv_RstAPhsC_mag_12121 | 12121. Bias current IL3 (LD0.FLTRFRC1 Fault record (1))
484 | 12122 | fv | fv_DifARes_mag_12122 | 12122. Diff current Io (LD0.FLTRFRC1 Fault record (1))
485 | 12123 | fv | fv_RstARes_mag_12123 | 12123. Bias current Io (LD0.FLTRFRC1 Fault record (1))
486 | 12125 | fv | fv_PPLoopRis_mag_12125 | 12125. Fault loop resistance (LD0.FLTRFRC1 Fault record (1))
487 | 12126 | fv | fv_PPLoopReact_mag_12126 | 12126. Fault loop reactance (LD0.FLTRFRC1 Fault record (1))
488 | 14000 | it | it_SupWh_actVal_14000 | 14000. Reverse active energy (LD0.PEMMTR1 Three-phase energy values (1))
489 | 14001 | it | it_SupVArh_actVal_14001 | 14001. Reverse reactive energy (LD0.PEMMTR1 Three-phase energy values (1))
490 | 14002 | it | it_DmdWh_actVal_14002 | 14002. Forward active energy (LD0.PEMMTR1 Three-phase energy values (1))
491 | 14003 | it | it_DmdVArh_actVal_14003 | 14003. Forward reactive energy (LD0.PEMMTR1 Three-phase energy values (1))
492 | 14100 | it | it_OpCntRs_stVal_14100 | 14100. CB1 op. counter (CTRL.CBCSWI1 Operation counter)
493 | 14101 | it | it_OpCntRs_stVal_14101 | 14101. CB2 op. counter (CTRL.CBCSWI2 Operation counter (2))
494 | 20000 | se | se_IndLEDRs_Oper_ctlVal_20000 | 20000. Reset indication LEDs (General device data)
495 | 20001 | se | se_ProgLEDRs_Oper_ctlVal_20001 | 20001. Reset programmable LEDs (General device data)
496 | 20003 | se | se_CntRs_Oper_ctlVal_20003 | 20003. AR1 reset all counters (LD0.DARREC1 Autoreclosing (1))
497 | 20004 | se | se_RecRs_Oper_ctlVal_20004 | 20004. AR1 reset (LD0.DARREC1 Autoreclosing (1))
498 | 20007 | se | se_RcdTrg_Oper_ctlVal_20007 | 20007. Trig recording (DR.RDRE1 Disturbance recorder (1))
499 | 20008 | se | se_MemClr_Oper_ctlVal_20008 | 20008. Clear all records (DR.RDRE1 Disturbance recorder (1))
500 | 20023 | se | se_CntRs_Oper_ctlVal_20023 | 20023. AR2 reset all counters (LD0.DARREC2 Autoreclosing (2))
501 | 20024 | se | se_RecRs_Oper_ctlVal_20024 | 20024. AR2 reset (LD0.DARREC2 Autoreclosing (2))
502 | 21000 | de | de_Pos_Oper_ctlVal_21000 | 21000. Circuit breaker control 1 (CTRL.Cxxxxx1 Circuit breaker control (1))
503 | 21001 | de | de_Pos_Oper_ctlVal_21001 | 21001. Circuit breaker control 2 (CTRL.Cxxxxx2 Circuit breaker control (2))
504 | 40000 | nv | nv_ActSetGr_stVal_40000 | 40000. Active setting group (General device data)
505 | 40001 | sp | sp_ActSetGr_stVal_40001 | 40001. Уставки група 1 в роботі (General device data)
506 | 40002 | sp | sp_ActSetGr_stVal_40002 | 40002. Уставки група 2 в роботі (General device data)
507 | 40003 | sp | sp_ActSetGr_stVal_40003 | 40003. Уставки група 3 в роботі (General device data)
508 | 40004 | sp | sp_ActSetGr_stVal_40004 | 40004. Уставки група 4 в роботі (General device data)
509 | 40005 | sp | sp_ActSetGr_stVal_40005 | 40005. Уставки група 5 в роботі (General device data)
510 | 40006 | sp | sp_ActSetGr_stVal_40006 | 40006. Уставки група 6 в роботі (General device data)
511 | 40010 | nv | nv_ParChgCnt_stVal_40010 | 40010. Number of setting changes (General device data)
512 | 41001 | se | se_ActSetGr_Oper_ctlVal_41001 | 41001. Activate setting group 1 (General device data)
513 | 41002 | se | se_ActSetGr_Oper_ctlVal_41002 | 41002. Activate setting group 2 (General device data)
514 | 41003 | se | se_ActSetGr_Oper_ctlVal_41003 | 41003. Activate setting group 3 (General device data)
515 | 41004 | se | se_ActSetGr_Oper_ctlVal_41004 | 41004. Activate setting group 4 (General device data)
516 | 41005 | se | se_ActSetGr_Oper_ctlVal_41005 | 41005. Activate setting group 5 (General device data)
517 | 41006 | se | se_ActSetGr_Oper_ctlVal_41006 | 41006. Activate setting group 6 (General device data)